## Overview
Chemical Laboratory — Unit Head Questionnaire
Deliverable 2 (Chemical Laboratory edition) of the QC Laboratory Capacity, Staffing Gap and CAPEX Assessment (see QC_Lab_Capacity_Staffing_CAPEX_Report.md).
Field | Entry
Laboratory unit | Chemical Laboratory (QC)
Respondent (Head of Unit)
Date completed
Data period covered | From ____ to ____ (target: last 12–24 months)
Reviewed by (QC Manager)

## How to complete
How to complete
• Answer from records where possible (LIMS, CDS audit trails, logbooks, training matrix). Mark every answer with its source label:
[V] verified from records · [E] your estimate · [N/A] not applicable · [?] unknown.
• Times are in minutes unless stated. Always separate hands-on analyst time from unattended instrument/oven time — they drive different resources (people vs instruments).
• Do not repeat data held centrally (production plan, HR absence, finance costs) — Section B and C ask only for what the lab knows best.
• Where Section E is pre-filled from Leadtime.xlsx, confirm, correct or split the value; do not leave pre-filled values unreviewed.
• Attach supporting files with the reference shown (e.g. Att-D1 equipment list).
• Estimated time to complete: 3–4 hours, plus 1–2 weeks for timed observations in E.4.

## A Unit profile and organization
A. Unit profile and organization
# | Question | Answer | Source
A1 | Scope of the unit: which sample categories do you test? (RM/API, excipients, herbal extracts, premixes, packaging, IPC, FP release, stability, cleaning validation, other)
A2 | Which test types are performed by the Chemical lab vs transferred to the Physical or Micro lab (e.g. dissolution, LOD, density, particle size, disintegration)?
A3 | Working pattern: shifts per day, hours per shift, working days per week. Is unattended overnight / weekend instrument running permitted and practised?
A4 | Laboratory areas: number of rooms, total area (m²), separate areas for HPLC/GC, wet chemistry, balances, reference standards, solvent storage
A5 | Organization chart attached? (roles, reporting lines, deputies) | Yes / No — Att-A5
A6 | Main internal customers and dependencies (Warehouse release, Production IPC, Physical lab HPLC-finish dissolution, Stability, R&D/Validation)
A7 | Does any testing get outsourced to external labs? Which tests, annual volume, typical turnaround and cost per test?

## B Testing demand and sample vol
B. Testing demand and sample volumes
B1. Annual volumes (last 12 months, and forecast). Use LIMS counts where available.
Sample category | Samples / year (actual) | Avg tests per sample | Peak month (samples) | Expected change Y1 / Y2 / Y3 (%) | Source
API / active raw materials
Excipients
Herbal extracts / botanicals
Vitamin / mineral raw materials
Premixes
Flavours, colours, sweeteners
Packaging materials (chemical tests)
In-process control (IPC)
Finished product release
Stability pulls
Cleaning validation / swabs
Water (chemical tests: conductivity, TOC, etc.)
Re-tests / investigations
# | Question | Answer | Source
B2 | How many distinct materials/products are currently active in your specification list? (Leadtime.xlsx lists 550 materials incl. 21 premixes.) Which listed items are obsolete or no longer purchased?
B3 | Which new products, materials, or methods are expected in the next 3 years (launches, new suppliers, pharmacopoeia updates such as new nitrosamine or elemental-impurity requirements)?
B4 | Seasonality: in which months are volumes highest, and why (campaigns, supplier deliveries, stability calendar)?
B5 | Do you test reduced testing / skip-lot for qualified suppliers? Which materials, and what share of lots?
B6 | Typical number of samples batched together per test set (e.g. per HPLC sequence, per LOD oven load, per TLC plate)

## C Staffing, competencies and ti
C. Staffing, competencies and time allocation
C1. Headcount by role.
Role | Approved positions | Actual headcount | Vacancies | Temporary / contract | Avg years in role | Source
Head of unit
Supervisor / team leader
Senior analyst / data reviewer
Analyst — chromatography (HPLC/UPLC/GC)
Analyst — wet chemistry / spectroscopy / TLC
Technician / sample & solution preparation
Documentation / LIMS clerk
CDS / instrument system administrator
C2. Time allocation per role (% of a typical week — rows should total 100%).
Role | Testing hands-on | Sample/solution prep | Documentation & LIMS entry | Data review & approval | Investigations (OOS/OOT/deviations) | Validation / transfer | Training (given + received) | Meetings, admin, housekeeping
Supervisor
Senior analyst / reviewer
Analyst — chromatography
Analyst — wet chemistry
Technician
C3. Competency / authorization matrix. Attach the current analyst × method authorization matrix (Att-C3). Then summarize:
Technique / method family | Analysts authorized | Analysts in training | Reviewers authorized | Single-person dependency? (Y/N)
HPLC / UPLC assay & related substances
GC / GC headspace (residual solvents)
UV-Vis spectrophotometry
FTIR identification
TLC (herbal and drug)
Karl Fischer water
Titrations (acid, saponification, hydroxyl, peroxide, iodine values)
AAS / ICP (Zn, Ca, Mg, Fe, Cu, Mn, Hg, K, Na)
Gravimetric (LOD, ash/ROI, residue on evaporation, sulfated ash)
Herbal marker assays (ginseng, silymarin, ginkgo, etc.)
Vitamin assays (B group, C, E, K1, Q10)
Reference standard qualification
CDS administration
# | Question | Answer | Source
C4 | Overtime hours per month (average and peak) for the unit, last 12 months
C5 | Staff turnover in the last 24 months (leavers by role) and average time to fill a vacancy
C6 | Time for a new analyst to reach independent authorization: HPLC ____ months; wet chemistry ____ months; reviewer ____ months
C7 | Which responsibilities can only be performed by one named person today?
C8 | Is any analyst time lost to non-lab duties (warehouse sampling, production support, audits)? Hours/month?

## D Instruments and equipment
D. Instruments and equipment
D1. Equipment register — attach full list (Att-D1) and complete the summary for each group:
Equipment group | Qty installed | Qty operational & qualified | Oldest unit (year) | Vendor support ending? | Scheduled hours/day | Actual use (h/week) | Downtime last 12 m (days) | Typical queue (days) | Source
HPLC / UPLC (by detector: UV/DAD, RI, FLD, ELSD)
GC / GC-headspace
UV-Vis spectrophotometer
FTIR
AAS / ICP-OES / ICP-MS
Karl Fischer titrators
Potentiometric autotitrators
LOD / drying ovens
Muffle furnaces (ash / ROI)
TLC equipment (applicator, chamber, visualizer/densitometer)
Polarimeter
Melting-point apparatus
pH / conductivity meters
Analytical & micro balances
Water-bath / reflux / heating mantles (saponification etc.)
Fume hoods
Ultrasonic baths, centrifuges, evaporators
# | Question | Answer | Source
D2 | Which instruments are the most frequent cause of waiting? Give the average wait (days)
D3 | Which methods can run on only one specific instrument (pressure, detector, column oven, software version)?
D4 | Instrument run-time evidence available? (CDS audit trail, logbook, LIMS) — can 12 months be extracted?
D5 | Overdue calibration / qualification / PM items today, and their impact
D6 | Instruments that are obsolete, unsupported, or failed repeatedly in the last 24 months
D7 | Are HPLC sequences run overnight and at weekends? Average sequences per system per week?

## E Method-level time standards
E. Method-level time standards
This section is the core input to the workload model (report §2.5, §4). The Chemical lab already holds a time catalogue in Leadtime.xlsx; it is summarized in Leadtime.md. Please verify and split it.
E.1 Findings from Leadtime.xlsx that need your confirmation
# | Observation from the workbook | Your response
E1.1 | Only 174 of 550 materials (31%) have a time estimate; 376 show “-” or blank. Are those materials (a) not tested in-house, (b) obsolete, or (c) tested but not yet timed? Please classify (Att-E1).
E1.2 | 7 materials list specific tests but have no specific-test time (Premix Sleep Care, Honey Flavour, MSM, Mannitol, Omega 3 (Flaxseed Oil), Orange Flavour Powder, Xanthan Gum). Provide the missing times.
E1.3 | “Acid value” appears twice in the General Test list (30 min and 25 min). Which is correct, or do they apply to different methods?
E1.4 | Are the recorded times elapsed (start to result) or hands-on? Several values are clearly dominated by unattended time (LOD 24 h = 1,450 min; Water absorption 48 h = 2,890 min; Saponification 140 min).
E1.5 | Do the times include documentation, LIMS entry and review? If not, give typical extra minutes per test.
E1.6 | Are times per single sample or per batch/test set? If per set, how many samples per set?
E1.7 | Do premix times (e.g. Premix Xade 2,608 min, EnergeX 2,506 min, PregnaLife 1,981 min) assume each assay is run as a separate HPLC sequence? Could assays be combined or run in parallel?
E1.8 | When was the catalogue last updated, and how were times obtained (stopwatch observation, expert estimate, CDS data)?
E.2 General test time split (pre-filled “Recorded” column from Leadtime.xlsx, General Test sheet)
Split each recorded time into the four model elements (report §4: hands-on, instrument occupancy, documentation, review). Add a samples-per-set figure where tests are batched.
# | Test | Recorded (min) | Hands-on (min) | Unattended instrument/oven (min) | Documentation (min) | Review (min) | Samples per set | Correct? (Y/N + note)
1 | Description | 1
2 | Soluibility | 15
3 | Saponification | 140
4 | Acid value | 30
5 | Acidity/Alkalinity | 30
6 | Optical rotation | 15
7 | LOD (60 min) | 70
8 | LOD (24 h) | 1450
9 | Water absortion (48 h) | 2890
10 | Ash | 80
11 | Sulfate | 15
12 | Chloride | 15
13 | Sodium | 25
14 | Conductivity | 10
15 | Phosphate | 15
16 | Zinc | 30
17 | Calcium | 30
18 | Mangnesium | 10
19 | Sulfate/chloride limit | 20
20 | Hydroxyl value | 70
21 | Peroxide value | 15
22 | Ester value | 5
23 | Dissolution | 30
24 | Water content | 20
25 | Melting point | 15
26 | Density Bulk | 10
27 | Density Tapped | 45
28 | Particle size | 30
29 | TLC (herbal) | 30
30 | TLC (drug) | 30
31 | Residue on evaporation | 105
32 | Water in soluble, soluble | 90
33 | Acid in soluble, soluble | 90
34 | Settling volume | 30
35 | Iodine | 10
36 | Iron | 10
37 | Carbonate | 10
38 | Copper | 15
39 | Manganese | 10
40 | Ogxalate | 10
41 | Potassium | 30
42 | Desnsity | 10
43 | Wash early | 60
44 | final wash | 120
45 | pH | 15
46 | Mercury | 25
47 | Clarity of solution | 60
48 | Color of Solution | 60
49 | SPECIFIC GRAVITY | 15
50 | Acid value | 25
E.3 Highest-workload materials — verification
These 15 materials have the longest recorded total times and drive capacity most. Confirm annual lots and split the time.
# | Material (sheet) | Specific tests | Recorded total (min) | Lots tested / year | Hands-on (min) | Instrument (min) | Doc + review (min) | Comment
1 | Premix Xade (Permix) | Assay E,Siberian Ginseng,Tribulus,Epimedium,Panax Ginseng,Viamin B Group | 2608
2 | Premix EnergeX (Permix) | Assay E, Assay Silymarin,Tribulus,Ginkgo biloba,Damiana,Viamin B Group,Vitamin B12, Vitamin B5 | 2506
3 | Premix PregnaLife (Permix) | Assay E,Vitamin B1,Vitamin B2,Vitamin B5,Vitamin B7,Vitamin B12,Ubidecarenone, Vitamin C | 1981
4 | L-Menthol (L) | Limit of nonvolatile residue- Readly oxidizable substance in dl-menthol-Congealing range of dl-menthol | 1606
5 | Premix Optiwoman (Permix) | Assay E,Vitamin B Group,Siberian Ginseng,Panax Ginseng,Biotin | 1378
6 | Premix Healthy Liver (Permix) | Assay Artichoke-Assay milk thistle | 1306
7 | Silybum Marianum (Milk Thistle Ext.) Dry Conc 70:1 (S) | Identification-Assay | 1249
8 | Sodium Citrate (S) | Identification A- Identification B- Identification C- Assay- Tartrate- | 1226
9 | Vitamin B1 (Thiamin HCL) (V) | Identification B- Assay- Limit on nitrate- Related compound- Absorbance of solution | 1186
10 | Ferrous Fumarate (F) | Identifiction B-Assay-Sulfate- Limit of ferric Iron | 1176
11 | Premix Burning Fat (Permix) | Assay Garcinia Quaesita Fruit-TLCGymnema Sylvestre-Coleus Forskohlii- Vitamin B6 | 1171
12 | Linagliptin (Morepen) (L) | Assay-Related compounds | 1171
13 | Fluticasone Propionate Micronized (F) | Assay-Impurity | 1161
14 | Premix Kamasotra (Permix) | Assay Siberian ginseng-Korean ginseng | 1153
15 | Empagliflozin (Alborz Pharmed) (E) | Assay-Related substance | 1106
E.4 Instrumental methods (not fully covered by the workbook)
For each instrumental method family, give typical values (per sequence/run).
Method family | Typical samples per sequence/run | Overhead injections/runs (blanks, SST, brackets) | Run time per injection (min) | Total instrument occupancy per sequence (h) | Analyst hands-on per sequence (min) | Processing & documentation (min) | Review (min) | Repeat / invalid-run rate (%)
HPLC assay (vitamins)
HPLC assay (herbal markers)
HPLC related substances / impurities (APIs)
HPLC dissolution finish (for Physical lab)
GC-headspace residual solvents
UV-Vis assay / identification
FTIR identification
TLC identification (herbal / drug)
AAS / ICP metals
E.5 Timed observation (recommended). Select the 10 highest-volume methods and record start/stop times for at least 3 runs each over the next 2 weeks (Att-E5, template: method · date · analyst · samples · hands-on min · instrument min · documentation min · review min · interruptions).

## F Non-routine workload
F. Non-routine workload
# | Item (last 12 months) | Count / year | Average analyst hours per event | Average instrument hours per event | Source
F1 | OOS investigations (Phase I lab)
F2 | OOT investigations
F3 | Laboratory deviations / incidents
F4 | Re-tests and re-samples (not already in E times)
F5 | Method validations
F6 | Method verifications / transfers (incl. pharmacopoeia updates)
F7 | Supplier / new-material qualification testing
F8 | Reference / working standard qualification
F9 | Reagent, volumetric solution and mobile-phase preparation (h/week)
F10 | Customer complaints / regulatory requests requiring testing
F11 | Internal / external audit preparation and hosting
F12 | CAPA actions owned by the lab

## G Workflow, turnaround and bott
G. Workflow, turnaround and bottlenecks
G1. Turnaround performance (calendar days, last 12 months).
Sample category | Target TAT | Actual median TAT | Actual 90th percentile | % late | Current backlog (samples) | Source
API / raw materials
Herbal extracts & premixes
Excipients & others
Finished product release
Stability
# | Question | Answer | Source
G2 | Where do samples wait longest? Rank: sample receipt/registration · sample preparation · instrument queue · analyst availability · data processing · review/approval · reference standards/reagents · LIMS · other
G3 | Average days between test completion and review/approval
G4 | Which 3 tests or materials most often delay release? Why?
G5 | How are priorities set when capacity is short? Who decides?
G6 | Is data captured electronically end-to-end (CDS → LIMS), or are paper worksheets and manual transcription used?
G7 | Quick wins you would implement without CAPEX (scheduling, batching, overnight runs, cross-training, review delegation, method simplification)

## H Facilities, utilities and saf
H. Facilities, utilities and safety
# | Question | Answer | Source
H1 | Is there bench space and power for additional instruments? How many more HPLC-sized positions could be added?
H2 | Gas supply (N₂, He/H₂, compressed air, Ar for AAS/ICP) — capacity and reliability
H3 | Purified / HPLC-grade water supply adequacy
H4 | Fume hood capacity for wet chemistry (saponification, reflux, solvent work)
H5 | Solvent and hazardous waste storage and disposal constraints
H6 | HVAC / temperature / humidity control problems affecting instruments or balances
H7 | Sample and retained-sample storage capacity (ambient, cold)
H8 | Any space planned to be lost or gained in the next 3 years

## I Compliance, data integrity an
I. Compliance, data integrity and risk
# | Question | Answer | Source
I1 | Open audit or inspection findings related to the Chemical lab (count, topics, due dates)
I2 | Instruments or software not meeting data-integrity expectations (standalone, no audit trail, shared logins)
I3 | Methods not validated/verified for current use, or outdated vs current pharmacopoeia
I4 | Top 5 operational risks (likelihood × impact): e.g. single HPLC for a critical method, one reviewer, obsolete GC
I5 | What happens if the most critical instrument fails for 2 weeks? Any back-up (second unit, external lab)?

## J Investment needs and prioriti
J. Investment needs and priorities
J1. Requested investments (CAPEX and significant OPEX).
Priority | Item (instrument, software, facility, headcount) | Qty | Problem it solves (link to section) | Capacity gained (h/year or samples/year) | Est. cost (CAPEX) | Annual running cost (OPEX) | Required by (date) | Alternative if not approved
1
2
3
4
5
# | Question | Answer | Source
J2 | Which requests have supplier quotations? Attach (Att-J2).
J3 | Consumable cost drivers (columns, solvents, reference standards) — top 5 by annual spend
J4 | Would you prefer additional staff, additional instruments, or extended shifts to close the gap? Why?
J5 | Anything else the assessment team should know?

## Declaration
Declaration
I confirm that the information above reflects the Chemical Laboratory's operation to the best of my knowledge, and that values are labelled as verified [V] or estimated [E].
| Name | Signature | Date
Head of Chemical Laboratory
QC Manager (review)
Attachments checklist
• [ ] Att-A5 Organization chart
• [ ] Att-C3 Analyst × method authorization matrix
• [ ] Att-D1 Equipment register with qualification/calibration status
• [ ] Att-E1 Classification of the 376 untimed materials
• [ ] Att-E5 Timed observation sheets
• [ ] Att-J2 Supplier quotations
• [ ] LIMS extract: 24 months sample/test counts by material and month
• [ ] CDS extract: 12 months run hours per instrument